## Slide 1
Devil’s Gate Dam
& Reservoir
Environmental Impact Report
&
Interim Operational Measures
Steve Sheridan, P.E.
Los Angeles County
Department of Public Works

## Slide 3
Condition Assessment
September 2009
January 2011
Same trashrack

## Slide 4: Flood Hazard Risk

## Slide 5: Environmental Impact Report

## Slide 6
Interim
Operational
Measures

## Slide 7
Limits of work

## Slide 8
Interim Operational Measures
Re-establish the access road along east abutment
Remove an estimated 25,000 CY of sediment from an area approximately 100 feet upstream of the dam face.
≈ 100’

## Slide 9
Interim Operational Measures
Extend the height of existing sluice gate trash rack approximately 32 feet.
Reduce the bar opening width of the existing sluice gate trash rack.
Replace approximately 100 feet of damaged ladder system on the face of the dam.

## Slide 10
Interim Operational Measures
Modify the Altadena West Storm Drain to allow discharge in the event the outlet becomes blocked by sediment.
Install new catwalk around the spillway ports.
Replace the existing wooden boom logs that are employed upstream of spillway ports to trap floating debris and install new anchor points.

## Slide 11
Division of Safety of Dams
Department of Fish and Game
Regional Water Quality Control Board
US Army Corps of Engineers
Regulatory Agencies

## Slide 12: Summary
Steve Sheridan, Principal Engineer
Los Angeles County Department of Public Works
Water Resources Division
(626) 458-6102
ssheridan@dpw.lacounty.gov
Contact Information
http://dpw.lacounty.gov/wrd/Removal/index.cfm
And select Devil’s Gate Dam and Reservoir
For a copy of the Board Report, go to: